## Contents
[8 empty] | Last user: | Ueli Steiger
Contents | [7 empty] | Last update: | 2014-02-21
| Background |  |  |  | Abbreviations
|  | Mechanical endurance test TS041 in Oerlikon CH (M1: 2000 CO) |  |  |  | t | Time | [5 empty] | .1 | UFD 1
|  | UFD prototype version A9 |  |  |  | ot | open trip signal | [5 empty] | .2 | UFD 2
|  | UFD+ setup (i.e. 2 UFDs in series with VT inbetween |  |  |  | ct | close trip signal | [5 empty] | .O | Drive O
[6 empty] | TIV | Transient interruption voltage (withstand position) = 12 mm | [5 empty] | .W | Drive W
[6 empty] | Udo | Drive voltage open shot
[6 empty] | Ido | Drive current open shot
Sao
cs
[6 empty] | Ta | Arcing time
os
Vo
[6 empty] | BTo | Back travel open
[6 empty] | Udc | Drive voltage close shot
Idc
[6 empty] | BTc | Back travel close
[6 empty] | Rc | contact resistance
| Aim of testing |  |  |  |  | Tot-cs | Time from open trip until contact separation
[6 empty] | Tct-dcf | Time from close trip until final contact closing
| Measurements |  |  |  | Keyence laser delay
| UFD |  |  |  |  | sample step |  |  | 50 | us
| 1 | Charging voltage O1 (TCU1) | ü |  |  | time delay (experimentally measured) |  |  | 0.274 | ms
| 1 | Charging voltage O2 (TCU2) | ü |  |  | time delay (acc. To Keyence manual) |  |  | 0.3 | ms | 6*T6 (T6 = sample step)
| 1 | Charging voltage C1 (TCU3) | ü | [7 empty] | -> for 20 us -> 120 us acc. To manual and 112 us corrected
| 1 | Charging voltage C2 (TCU4) | ü
| 2 | Charging voltage O1 (TCU3) | ü |  | SF6 pressures |  |  |  | p @20°C |  | density
| 2 | Charging voltage O2 (TCU4) | ü |  |  | Lock-out pressure (= min.pressure) |  |  | 6 | bar (abs.) | 39.16 | kg/m3 | Lower mech. Test pressure (incl. Mech endurance) |  |  | +18% 6->7bar
| 2 | Charging voltage C1 (TCU1) | ü |  |  | Warning pressure |  |  | 6.2 | bar (abs.) | 40.59 | kg/m3
| 2 | Charging voltage C2 (TCU2) | ü |  |  | Filling pressure |  |  | 6.8 | bar (abs.) | 44.95 | kg/m3
[6 empty] | (Maximum pressure) |  |  | 7 | bar (abs.) | 46.43 | kg/m3 | Higher mech. Test pressure (only single shots)
| 1 | Current Coils | ü
| 2 | Current Coils | ü
| 1 | Stroke Actuator O (Keyence) | ü
| 1 | Stroke Actuator W (Keyence) | ü
| 2 | Stroke Actuator O (Keyence) | ü
| 2 | Stroke Actuator W (Keyence) | ü
|  | Contact separation (for calibration shots) | ü
|  | PMS 1.1 Drive X 20mm | ü
|  | PMS 1.2 Drive X 20mm | ü
|  | PMS 1.3 Drive X 12mm | ü
|  | PMS 1.4 Drive X 12mm | ü
|  | PMS 1.5 Drive X 0mm | ü
|  | PMS 1.6 Drive X 0mm | ü
|  | PMS 2.1 Drive X 20mm | not working (fibre problem?)
|  | PMS 2.2 Drive X 20mm | ü
|  | PMS 2.3 Drive X 12mm | ü
|  | PMS 2.4 Drive X 12mm | ü
|  | PMS 2.5 Drive X 0mm | ü
|  | PMS 2.6 Drive X 0mm | ü
| Test Duty: |  |  | Mechanical
| Date: |  |  | 2014-02-20 |  | one turn of potentiometer in OSU = 30V | Type of Breaker: |  |  |  |  | UFD |  |  | U. Steiger, R. Irion |  | Legend |  | Variables for external data
| Test number: |  |  | 7470 |  |  | Serial number: | [10 empty] | ="not applicable" | Path of the "Test" | I:\Projects\CD_PTHT\Projects\UFD\TS19_mech
| Isolating medium: |  |  | SF 6 |  |  | Variant: |  |  |  |  | A8 |  |  | ABB Oerlikon |  |  | ="not reliably measurable"
| Pressure: |  |  | 600 kPa |  |  | OSU serial nr: |  |  |  |  | 2 |  |  | Keyence Laser System |  |  | ="not measured" | Path of the "High speed movies" | high_speed_movies
| Preload bist. springs: | [13 empty] | 0.11 ms (50 kHz sampling rate) |  |  | ="automatic AMDET import" | Type of File (ending) | .avi
| End position FC: | [16 empty] | using KeyLaser delay
| Preload FC springs: | [5 empty] | TR-Auflösung |  |  |  |  | 2 us | [6 empty] | Path of the "graphs overview" | graphs_overview
.pdf
Note on O2: For defining the user name; Tool -> Option -> General
Template for
Power
Test
1024x768
1280x1024
1600x1200
<<<

## Shot overview
[12 empty] | OPEN | [30 empty] | CLOSE
Oscillogram Number | Operation | Voltage step of cap bank | UFD | Time between CO/OC | Date | Time | Ambient temperature | Measurement garphs overview | HS-Movie | Gas pressure (VX UFD) | General comments | Charging voltage (open) |  | Peak coil current (open) |  | Time until first contact separation (arcing start) | Time until final contact separation (arcing end) | Stroke A at arcing start | Stroke B at arcing start | Stroke A at arcing start | Stroke B at arcing start | Arcing duration | Time to 12mm stroke |  |  |  | Time to 19 mm (first hit) |  |  |  | Time to 19.5 mm (stable) |  |  |  | Max. speed (open) |  |  |  | Max. back travel (open) |  |  |  | Charging voltage (close) |  | Peak coil current (close) |  | Time to first contact closing | Time to def. contact closing | OC-Time (12mm to def. contact closing) | Stroke A at arcing start | Stroke B at arcing start | Stroke A at arcing start | Stroke B at arcing start | Arcing 1 duration | Arcing 2 duration | Arcing 3 duration | Arcing sum | Max. speed (close) |  |  |  | Max. back travel (close) |  |  |  | Static contact resistance
[11 empty] | Stage | 1 | 2 | 1 | 2 |  |  | 1 | 1 | 2 | 2 |  | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 2 | 1 | 2 |  |  |  | 1 | 1 | 2 | 2 |  |  |  |  | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 2
[11 empty] | Drive | [6 empty] | O | W | O | W |  | O corr | W corr | O corr | W corr | O | W | O | W | O | W | O | W | O | W | O | W | O | W | O | W | [7 empty] | O | W | O | W |  |  |  |  | O | W | O | W | O | W | O | W
[12 empty] | Udo | Udo | Ido | Ido | Tot-cs |  | Sao |  |  |  | Ta | Tot-TIV |  |  |  | Tot-of |  | Tot-of |  | Tot-os |  | Tot-os |  | Vo |  | Vo |  | BTo |  | BTo |  | Udc | Udc | Idc | Idc | Tct-1c | Tct-dc | Tct-dc | Sac |  | Stroke B at arcing start | [5 empty] | Vo |  | Vo |  | BTc |  | BTc |  | Rc | Rc
|  |  |  | ms | dd-mm-yyyy | hh:mm:ss | °C |  |  | bar abs. |  | V | V | kA | kA | μs | μs | mm | mm | mm | mm | μs | ms | ms | ms | ms | ms | ms | ms | ms | ms | ms | ms | ms | m/s | m/s | m/s | m/s | mm | mm | mm | mm | V | V | kA | kA | ms | ms | ms | mm | mm | mm | mm | μs | μs | μs | μs | m/s | m/s | m/s | m/s | mm | mm | mm | mm | μΩ | μΩ
Note on BW1: See doc CSB0_1086 for polynom definitions

## Comments
Oscillogram Number
Time until final contact separation (arcing end)
Stage

## OPEN Graphical evaluation
Reference values for charts
| Chart | OPEN - time to 10 mm stroke
| width | max | target
| 1050 | 2 | 1.5 | 1150 | 0
| 1350 | 2 | 1.5 | 1150.01 | 12
| Static resistance |  |  | 1000 | 5
1 | #REF! |  |  | 1400 | 5
2 | #REF!
3 | #REF!
4 | #REF!
5 | #REF! |  |  |  |  | Def. contact closing vs. shot number
6 | #REF!
7 | #REF!
8 | #REF!
9 |  | #REF!
10 |  | #REF!
11 |  | #REF!
12 |  | #REF!
13 |  |  | #REF!
14 |  |  | #REF!
15 |  |  | #REF!
16 |  |  | #REF!
17 |  |  | #REF!
18 |  |  | #REF!
19 |  |  | #REF!
20 |  |  | #REF!
21 |  |  | #REF!
22 |  |  | #REF!
23 |  |  | #REF!

## CLOSE Graphical evaluation
Reference values for charts
| Chart | OPEN - time to 10 mm stroke
| width | max | target
| 1100 | 2 | 1.5 | 1150 | 0
| 1300 | 2 | 1.5 | 1150.01 | 12
| Static resistance |  |  | 1000 | 5
1 | #REF! |  |  | 1400 | 5
2 | #REF!
3 | #REF!
4 | #REF!
5 | #REF! |  |  |  |  | Def. contact closing vs. shot number
6 | #REF!
7 | #REF!
8 | #REF!
9 |  | #REF!
10 |  | #REF!
11 |  | #REF!
12 |  | #REF!
13 |  |  | #REF!
14 |  |  | #REF!
15 |  |  | #REF!
16 |  |  | #REF!
17 |  |  | #REF!
18 |  |  | #REF!
19 |  |  | #REF!
20 |  |  | #REF!
21 |  |  | #REF!
22 |  |  | #REF!
23 |  |  | #REF!

## GENERAL Graphical Evaluation
[6 empty] | Shot number | Resistance A6 | Res A7
[6 empty] | 1 | 21.62 | 13.77
[6 empty] | 4 | 16.45
21 | [5 empty] | 21 |  | 15.12
25 | [5 empty] | 25 |  | 14.3
[6 empty] | 33 | 15.28
[6 empty] | 34 | 18.05
[6 empty] | 39 |  | 16
49 | [5 empty] | 49 |  | 17.33
54 | [5 empty] | 54 |  | 21.97
[6 empty] | 68 |  | 17.12
[6 empty] | 116 | 18.27
[6 empty] | 154 |  | 19.05
[6 empty] | 255 |  | 29.9
[6 empty] | 292 | 24.1
[6 empty] | 700 | 21.5
[6 empty] | 744 | 22.3
[6 empty] | 1100 |  | 16.74
[6 empty] | 1210 |  | 16.92
[6 empty] | 1296 | 31.8
[6 empty] | 1308 |  | 16.77
[6 empty] | 1404 | 34.8
[6 empty] | 1410 |  | 17.13
[6 empty] | 1536 |  | 17.17
[6 empty] | 1546 | 31.94
[6 empty] | 2368 |  | 17.65
[6 empty] | 2540 |  | 18.05
[6 empty] | 2690 |  | 17.32
[6 empty] | 3654 | 26.05
[6 empty] | 3890 | 35.99
Reference values for charts
| Chart | OPEN - time to 10 mm stroke
| width | max | target
| 1100 | 2 | 1.5 | 1150 | 0
| 1300 | 2 | 1.5 | 1150.01 | 12
| Static resistance |  |  | 1000 | 5
1 | #REF! |  |  | 1400 | 5
2 | #REF!
3 | #REF!
4 | #REF!
5 | #REF! |  |  |  |  | Def. contact closing vs. shot number
6 | #REF!
7 | #REF!
8 | #REF!
9 |  | #REF!
10 |  | #REF!
11 |  | #REF!
12 |  | #REF!
13 |  |  | #REF!
14 |  |  | #REF!
15 |  |  | #REF!
16 |  |  | #REF!
17 |  |  | #REF!
18 |  |  | #REF!
19 |  |  | #REF!
20 |  |  | #REF!
21 |  |  | #REF!
22 |  |  | #REF!
23 |  |  | #REF!

## Typical travel curve
OSU thyristors triggered
t_impo
Time to first plunger impact (open) t_impo
Time to first plunger impact (close) t_impcl
Additional definitions in pink color
t_impcl
Value in test report

## Calculation shotnumbers
CO-number "C-Zähler" | 1400
shot nr. (close) | 2690
shot nr. (open) | 2691
CO per hour (measured) | 27.5
M1 requirement | 2000
Remaining time (h) | 21.8182